## Slide 1
Mingjun Wei
Zhiyao Yang
Zheng O’Neill
Mechanical Engineering
Texas A&M University
04/30/2024
Texas A&M Smart Connected Home Testbed (TAM-SCHT) CFD Test

## Slide 2: TAM-SCHT

## Slide 3: Floor Plan

## Slide 4: Lab home dimension

## Slide 5: Three View for the CFD test room
N

## Slide 6: Top view
Thermocouple
20 in
T_i_1
T_i_2
T_i_3
T_i_4
T_i_5
i: tree label
j: thermocouple label
N
Thermocouple tree
T_2_j
Diffuser
70 in
26 in
18 in
T_1_j
T_3_j
T_4_j
T_5_j

## Slide 7: Wall Surface Thermocouple
T_top
T_bot
N
T_N
T_E
T_S
T_W
Surface thermocouple
65 in
69 in

## Slide 8: Test room information
2
1
3
4
5
N
70 in
18 in
26 in
70 in
Diffuser
Thermocouple tree
Surface thermocouple
Room Height: 103 in
Sensors:
  The four surface thermocouples placed on the north, south, east, and west walls are at a height that is half of the room's height: 52.5 in
Diffuser:
  6 in width, 12 in length
  Located on the ceiling
  flow rate: 80 CFM for each diffuser (160 CFM for both)
  Discharge temp: 65F
Window
  Size: 35 inches by 35 inches
  Distance from each side to interior walls: 50 inches
  Bottom edge of the window from the ground: 22 inches
Door
  All the doors remained closed during the test

## Slide 9: B.C. for the test room
Wall | Surface Thermocouple corresponding to each wall:
North Wall | T_N
West Wall | T_W
East Wall | T_E
South Wall | T_S
Ceiling | T_top
Floor Wall | T_bot

## Slide 10: Tree 1 Temps
AC On
N

## Slide 11: Tree 2 Temps
N

## Slide 12: Tree 3 Temps
N

## Slide 13: Tree 4 Temps
N

## Slide 14: Tree 5 Temps
N

## Slide 15: Surface thermocouples
N

## Slide 16: Temp at Level 1 across Trees

## Slide 17: Temp at Level 2 across Trees

## Slide 18: Temp at Level 3 across Trees

## Slide 19: Temp at Level 4 across Trees

## Slide 20: Temp at Level 5 across Trees

## Slide 21: Chest Hight Temp Contour over AC ON/OFF

## Slide 22
Thank You
For Your Attention!
wendell@tamu.edu
https://hvac.engr.tamu.edu/

## Slide 23: Thermocouple Tree & Diffuser Location
Thermocouple tree
2
1
3
4
5
Diffuser

## Slide 24: Thermocouple Tree
Thermocouple
20 in
T_i_1
T_i_2
T_i_3
T_i_4
T_i_5
T_4_j
N
T_2_j
T_3_j
T_5_j
T_1_j
i: tree label
j: thermocouple label
69 in
65 in

## Slide 25: Thermocouple tree
Thermocouple
20 in

## Slide 26: Window Condition
We cover the window using cardboard